# GENERAL

## RELATED DOCUMENTS

### Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

## SECTION INCLUDES

### Testing, adjustment, and balancing (TAB) of air, hydronic and plumbing systems.

## SUMMARY:

### This Section includes testing, adjusting, and balancing HVAC systems to produce design objectives, including the following:

##### Balancing airflow and water flow within distributions systems, including submains, branches, and terminals, to indicated quantities according to specified tolerances.

##### Adjusting total HVAC systems to provide indicated quantities.

##### Measuring electrical performance of HVAC equipment.

##### Setting quantitative performance of HVAC equipment.

##### Verifying that automatic control devices are functioning properly.

##### Measuring sound and vibration.

##### Measuring and testing smoke management systems.

##### Reporting results of the activities and procedures specified in this Section.

### UNK as Owner will secure the services of a separate contractor to accomplish the total system balance work associated with this project as defined by the Specification Section. This specification section is provided for information and coordination.

### The Contractor shall provide the support and coordination as outlined in this Specification Section and as required to complete the total system balance work as indicated.

# PRODUCTS (Not Used)

# EXECUTION (NOT USED)

END OF SECTION 23 05 93